|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **IV Cart** | | | | | | | **Re-Stock Location** |
| Top  (with Red bags) | Tegaderm 6cmx7cm | 2x2 gauze | sharps | | 14G Insyte IV | | TPL cart |
| 16G Insyte IV | |
| 10cc pre-filled syringe | Chlorhexidine swab | Blue top x2  Lavender top x1  Pink top x1  Red top x1  Yellow top x1  ABG x1  Chlorhexidine swab x2  2x2  Tape x1  Tegaderm 6x7cm  18G Insyte  Tourniquet x1  Vacutainer  Fem-stab x1 | | 20G Insyte IV | | Med drawers/TPL cart |
| 18G Insyte IV | |
| Middle | Red top tube | Blue top tube | Pink top tube | | ABG | | TPL cart |
| Lavender top tube | Yellow top tube | Discard tube | | Vacutainer | Multisample adapter | TPL cart |
| Bottom | Butterfly – blue | 18G Nexiva IV | Luer lock vacutainer | | | | TPL cart |
| Butterfly - green | 20G Nexiva IV | Tourniquet | Clear tape | | | TPL cart/ frequent use cart |

Fem-stab set-up= 3-way stopcock, 21G needle (green), vacutainer set-up

|  |  |  |
| --- | --- | --- |
| **Invasive Monitoring and Vascular Access Cart x2** | | **Re-Stock Location** |
| Drawer 1 | * Ultrasound Clear Probe Cover * Sterile U/S Gel x 2 * Soluprep swab sticks large x3 * 10cc sterile pre-filled syringe x3 * 2x2 gauze * Ruler with Marker * #10 blade * 3cc syringe x1 * 10cc syringe x1 * 20cc syringe x1 * 30cc syringe x1 * 3-0 ethilon suture x2 * 18G 1 ½” needle x2 * 25G 1 ½” needle x2 * Lidocaine 2% x3 * Tape clear x2 * Pink tape x2 | * TPL Cart * TPL cart * TPL cart * TPL cart * Frequent use cabinet * TPL cart * Frequent use cabinet * Medication drawers * Medication drawers * Medication drawers * Medication drawers * Frequent use cabinet * Medication drawers * Medication drawers * Medication toolbox * Frequent use cabinet * Frequent use cabinet |
| Drawer 2 | * External Hemorrhage Kit * Radial Artline Kit x 2 * Femoral Artline Kit x 2 * Invasive Monitoring setup x 2 | * See kit lists |
| Drawer 3 | * IO supplies * Cordis Central Line Kit * Central Line Insertion Bundle | * Locked cabinet * See kit list * TPL cart |

|  |  |  |
| --- | --- | --- |
| **Chest Tube Cart x2** \* Zip tie gun in equipment cupboard | | **Re-Stock Location** |
| Drawer 1 | * #10 Blade * Bactigras * Zip ties * Drsg split 10x10cm 6ply * Bandage Elastoplast 3” * Medipore tape 3” * Providine 100ml * Lidocaine 2% * 3cc syringe * BD 25G 1 ½” Needle (orange end) * SoluPrep Swab * 2.0 silk suture on curved needle (482) | * Frequent use cabinet * Frequent use cabinet * TPL cart * Frequent use cabinet * Frequent use cabinet * Frequent use cabinet * Frequent use cabinet * Medication toolbox * Medication drawers * Medication drawers * TPL cart * Frequent use cabinet |
| Drawer 2 | * Chest drain insertion tray x 2 * Sterile gown x 2 * Sterile gloves (x2 each 6, 6 ½, 7, 7 ½, 8, 8 ½) | * TPL cart * TPL cart * Frequent use cabinet |
| Drawer 3 | * Sahara Dry Drain Adult (Pleurovac) x 2 * Tubing | * TPL cart * TPL cart |
| Side holders | * Chest Tube Sizes 28F, 32F, 36F x2 each |  |

|  |  |  |
| --- | --- | --- |
| **Trauma Arrest Cart** | | **Re-Stock Location** |
| Top of Cart | * ZOLL Cardiac monitor w/ pacing capability with One-Step Pads Attached x1 * Multi-function set of pads x1 * Spare paper for monitor | * TPL cart * TPL cart * TPL cart |
| Drawer 1 | * Arrest drug tray * Epinephrine prefilled syringe x4 * Bicarbonate prefilled syringe x2 * D50W amp x2 * Lidocaine prefilled syringe x1 * Atropine prefilled syringe x2 * 250 cc dopamine bag x1 | * Pharmacy * Zone A Med Room |
| Drawer 2 | * Pledgets * Surgicel * prolene 3-0 * prolene 2-0 * 0 silk * 2 silk * 2 silk ties (no needle) * bone wax * spinal needles (14G-18G) * skin stapler | * Jon * TPL cart * Frequent use cabinet * Frequent use cabinet * Frequent use cabinet * Frequent use cabinet * Frequent use cabinet * Jon * Jon * Frequent use cabinet |
| Drawer 3 | * Sterile gown * Sterile drape * Sterile huck towels * Sterile gloves size 6, 7, 8 | * TPL cart * TPL cart * TPL cart * Frequent use cart |
| Drawer 4 | * Thoracotomy tray + 10blade * Bulb * Suction tips (yankeur and surgical) * Magill forceps * Laparotomy Sponges | * TPL cart/Frequent use cart * Jon * Jon * TPL cart * TPL cart |
| Drawer 5 | * Onestep defib pads * Internal paddles * Resuscitative Hysterotomy kit | * TPL cart * MDRD for reprocessing |
| Drawer 6 | * REBOA kit * ART line tubing kit x2 * IV cutdown tray | * MDRD for reprocessing |